Protocol for X-Ray Machine Use

- All persons using an x-ray machine must conform to “Protocol for Radiographs.”

- Open DR software on acquisition computer.

- Enter the Patient Name, Client name, Account number (including pet number separated by a “-“ and all other red fields and press save.

- Once client and patient are created, double click on their name to start the process of taking an x-ray.

- Select area of the body to be x-rayed and the type of position of the patient.

- Select the doctor’s name and the name of the most senior member of staff involved in the taking of the x-ray and then the check button to ready the machine for taking x-rays.

- The beam of the x-ray machine should be collimated down so that only the area of interest of the patient is x-rayed.

- The ideal position for staff to take x-rays is outside of the room with the foot peddle ran under the door. If this is not possible then employees must wear PPE as per our protocol for radiographs and must stay out of the main beam of the x-ray machine.

- To take an x-ray the foot peddle should be partially depressed to allow the machine to spin up and then fully depressed to take the x-ray.

Protocol for Dental X-Ray Machine Use

- Patients should be identified for dental x-rays s per our practice management software (account number and a patient number).

- Employees must either wear PPE as per our Protocols for Radiographs or stand outside the room or at least six-feet away from the dental x-ray machine.

- The use of x-ray shields is encouraged.

- The patient’s mouth should always be braced when using a digital x-ray sensor.

- Patients’ dental x-rays should be transferred to the PACs server as part of the medical record.

| Received & Understood by: |  | Signature: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |